Remote Offices

Moravia, IA

Denver, CO

Petaluma, CA

Northeast Regional Office

7000 E Genesee Street

Building D, Upper Floor

Fayetteville, NY  13066

315-215-2236

Southeast Regional Office

57 S. Main Street

Suite 609

Harrisonburg, VA 22801

540-442-9848

ANTARES Contact:

Ian Hartman

Sr. Engineer

ihartman@antaresgroupinc.com

(480) 645-9292

Submission Date:

{{ SUBMISSION_DATE }}

Report Recipients:
Secure Solar Ventures LLC/Secure Futures LLC (Class A)

# FINAL COMPLIANCE INSPECTION

{{ PROJECT_NAME }}

{{ DC_CAPACITY }} kWp Photovoltaic System

Table of Contents

Background	3

System Information	4

Inspection Items	5

## Background

ANTARES Group Incorporated has been retained by Secure Futures LLC as an Independent Engineer to perform a final compliance inspection following substantial completion of construction activities.  The purpose of this inspection is to verify that the project has been installed in accordance with applicable Codes, project specifications, and industry best practices.  Any workmanship or improperly constructed elements of the project affecting safe and proper long-term system performance will be noted and recommendations made for correction.

## System Information

SITE:				{{ PROJECT_NAME }}

SYSTEM TYPE:		{{ RACKING_TYPE }}, {{ RACKING_LOCATION }}

LOCATION:			{{ ADDRESS }}

DC SYSTEM SIZE:		{{ DC_CAPACITY }}
           kW-DC

AC SYSTEM SIZE:		{{ AC_CAPACITY }} kW-AC

INVERTERS:			{{ INV_1_COUNT }} {{ INV_1_TYPE }}

{{ INV_2_COUNT }} {{ INV_2_TYPE }}

MODULES:	{{ MOD_COUNT }} {{ MOD_TYPE }}

MLPE/RSD:			{{ MLPE_COUNT }} {{ MLPE_TYPE }}

INTERCONNECTION:		{{ IX_TYPE }} {{ IX_VOLTAGE }}

{%p for row in rows %}

## Item #{{ row.ISSUE_ID }} – {{ row.LOCATION }}

Inspection Comment:

{{ row.INSPECTION_COMMENT }}

Contractor Response:

{{ row.CONTRACTOR_RESPONSE }}

ANTARES Response:

{{ row.AGI_COMMENT }}

Status:

{{ row.STATUS }}

| {{ row.PHOTO_BEFORE }} | {{ row.PHOTO_AFTER }} |
| --- | --- |
| FIG {{ row.FIG_BEFORE }}: EXAMPLE FIGURE | FIG {{ row.FIG_AFTER }}: CORRECTED |

{%p endfor %}

57 S. Main Street Suite 609 Harrisonburg, VA 22801

+1 540-442-9848

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

Contact

ANTARES Group Incorporated (ANTARES) is a consulting engineering and project development firm focused on clean energy and energy efficiency technologies including electricity, heat, and alternative fuels. Our clients range from small commercial and industrial entities (public and private) to investor-owned utilities and Fortune 500 companies.

We would like to help you realize your vision for your energy future. Contact us to start the conversation:

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com

2830 Solomons Island Rd. Suite A Edgewater MD 21037

+1 301-731-1900

www.antaresgroupinc.com